{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet1","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":8,"n_cols":5,"rows_kept":8,"merged":[[0,0,0,4],[1,0,1,3],[7,0,7,4]],"flags":["formulas_cached_only"]}
["贵州商学院一期建设电力设备设施拆除改造项目清单"]
[]
["序号","工 程 项 目","单位","工程量","备注"]
[1,"拆除电杆及清运处理","根",10]
[2,"箱变拆除及清运处理","台",2]
[3,"强弱电线缆拆除","米",450,"移至指定位置"]
[4,"地下弱电管道埋管（含弱电井疏通）","米",80,"采用人工埋管PVC75管，开挖深度约0.5米，开挖后埋管回填。"]
["以上是项目工程量清单，自行踏勘现场。"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}